
	[image: image1.jpg]MOWLER

COUNTY




<
	TYPE III Wastewater Treatment and Dispersal Operating Permit
TYPE III Operating Permit No. 2020-3375 (orig perm)
Doc Type:  Agency Generated


Facility Information
	Permittee name
(and business 
name, if applicable):
	
	Phone number:
	

	Mailing address:
	

	City:
	
	State:
	
	Zip code:
	

	Property ID number (GPS location):
	


	MOWER COUNTY 
	authorizes the Permittee to operate a TYPE III wastewater treatment and dispersal system 

	at the address named above in accordance with the requirements of this TYPE III operating permit. The attached Management Plan is hereby incorporated as part of the requirements of this operating permit.


	Issuance date:
	
	Expiration date:
	

	System type:
	
	Treatment level:
	     

	System design flow:
	
	Residential/Commercial:
	     

	System components:
	

	
	


Monitoring Requirements

	Parameter
	Effluent limits
	Frequency
	Location

	Design flow (gpd)
	
	
	

	Average flow (gpd)
	     
	     
	     

	Ponding/Surfacing in soil treatment
	     
	     
	     


Monitoring Requirements Comment Field 

The MONITORING PLAN is to be as follows: 

Maintenance Requirements

Maintenance requirements shall be performed as specified in the Management Plan as prepared by the system’s Designer.
	System component
	Maintenance
	Frequency

	Septic tank/Trash tank
	     
	     

	Pump tank and controls
	     
	     

	Effluent screen
	     
	     

	Soil treatment and dispersal
	     
	     


Contingency Plan

In the event the wastewater treatment system does not meet required performance requirements as contained in this operating permit, the owner shall notify the local unit of government within thirty (30) days of receiving non-compliant information. The owner is responsible to obtain the services of a Minnesota Pollution Control Agency (MPCA)-licensed MAINTAINER/BUSINESS or other qualified practitioner to complete the required corrective measures.  Note: this parcel is located in an area which is serviced by the City of Austin by municipal sewer.  If/when this system fails connection to the municipal sewer shall be required.
Authorization

This permit is effective on the issuance date identified above. This permit and the authorization to treat and disperse wastewater shall expire in THREE (3) year(s). The Permittee is not authorized to discharge after the above date of expiration. The Permittee shall submit monitoring information on forms as required by MOWER COUNTY no later than sixty (60) days prior to the above date of expiration for operating permit renewal. This permit is not transferable.

The owner is required to obtain the services of a Minnesota Pollution Control Agency (MPCA) licensed and trained: 1) MAINTAINER to provide ongoing system operation, maintenance, and monitoring and 2) Maintainer to pump the system’s sewage tanks and components. The owner is responsible to provide the name of the MAINTAINER/business prior to the issuance of this operating permit. The owner has secured the services of (Fill in this field with the name of the maintainer /company) as the MAINTAINER for this system (signed MAINTAINER contract attached). The MAINTAINER/BUSINESS is hereby authorized to provide the required monitoring data and routine maintenance service records to MOWER COUNTY. 
I hereby certify with my signature as the Permittee that I understand the provisions of the wastewater treatment and dispersal system TYPE III operating permit including maintenance and monitoring requirements. I agree to indemnify and hold MOWER COUNTY harmless from all loss, damages, costs and charges that may be incurred by the use of this system. If I fail to comply with the provisions of this operation permit, I understand that penalties may be issued. If I sell this property during the life of the permit, I will inform the new owner(s) of the permit requirements and the need to renew the TYPE III operating permit. 
	The TYPE III Operating Permit is hereby granted to:
	     


	Permittee 
(please print): 
	     
	
	Permitting Authority (please print):
	     

	Title: 
	     
	Date:
	     
	
	Title: 
	     
	Date:
	     

	Signature:
	
	
	Signature:
	



Page 1 of 1

